Quality and Safety Report -
Quarter 4
2025/26

Executive Summary – Quarter Four 2025/26
This report provides an update in relation to Safety Standards for our Council housing stock and our current performance at the end of Quarter Four 2025-6. It will be shared with the Lead Member for Housing and our Landlord Panel to ensure scrutiny and challenge and published on our website.

Following a review of our policies and procedures, we are confident that our policies, processes and procedures to maintain safety are robust, with controls in place to ensure that we achieve compliance of all standards.

The areas of compliance and safety covered within this report are:
- Asbestos Safety
- Gas Safety
- Fire Safety
- Water Hygiene
- Lift Safety
- Electrical Safety including Electrical Installation Condition Reports (EICR)
- Condensation Mould and Damp (CMD)
- Stock Condition Surveying (Condition of homes)

Quarter Four highlights:
Highlights include:
- 100% compliance against Asbestos, Gas Safety, Fire Safety, Water Hygiene and Lift Safety inspections
- Significant progress against EICR (Domestic dwellings) monitoring from 82.86% to 91.54%
- We understand the volume of reported issues around CMD and actively progress all reports and follow up actions
- Our front-line officers have continued to contribute to our “report it form” figures with 1,743 submitted for Quarter Four showing our commitment to our tenants
- We engaged a consultant (Pennington Choices) to carry out an external health check and review our governance, policies, procedures and reporting structure across all our compliance areas, stock condition and condensation, mould and damp. This has been really positive and we are working on recommendations within the report for continuous improvement with an action plan in place.

Areas of further focus:
- Continue to deliver the safety inspections in line with our programme
- Continue to work with tenants to help us address access issues so essential health and safety checks can be completed
- Continue to monitor recording of CMD following the implementation of Awaab’s Law by ensuring our systems and procedures are meeting the new legal requirements
- Improve the recording of the number of video diagnostic calls offered and used by tenants to help diagnose repairs
- Progress and complete any recommendations from any internal audits and the external health check by Pennington Choices.

Asbestos Safety
We are required to carry out asbestos management surveys and re-inspections to all general needs and sheltered communal areas, along with recreation rooms and supported accommodation as required, where asbestos is present (Pre 2000 builds).

Performance
There are 73 assets that require an asbestos re-inspection every year to monitor known Asbestos Containing Materials (ACM’s), along with management surveys completed every 10-years.

Our current performance levels against this measure are set out below:

2024/25	2025/26
Year end	Quarter 1	Quarter 2	Quarter 3	Year end
100%	100%	100%	100%	100%

At the end of Quarter Four, our asbestos survey and re-inspection performance remains strong with 100% of our communal areas having been re-inspected in line with the programme.
Any remedial actions arising from the re-inspections are raised for completion following the re-inspection.

In addition to complying with the above TSM requirement we undertake a range of surveys across our wider housing stock where required for all repair, planned maintenance and demolition works with survey details kept on our asbestos register (Keystone) and flagged in our repairs system (Accuserv).

An internal audit is currently being undertaken to assess our asbestos management arrangements across the housing stock and forms part of our regular audit programme.
Gas Safety
We are required to carry out gas safety checks to all dwellings that have a gas supply, this includes all general needs and sheltered dwellings along with recreation rooms and supported accommodation as required.

Performance
There are currently 13,786 dwellings that require a gas safety check on an annual basis. This number will vary depending upon the number of affordable homes built and the number of properties sold through the Right to Buy (RTB) process.

Our current performance levels against this measure are set out below:

2024/25	2025/26
Year end	Quarter 1	Quarter 2	Quarter 3	Year end
100%	100%	100%	100%	100%

At the end of Quarter Four, 100% of our homes had a valid Landlord Gas Safety Record (LGSR).
There are no remedial works raised on the back of the LGSR as all remedial works are completed as part of the safety check.

An internal audit was undertaken in September 2024. The audit objective was to assess the efficiency and effectiveness of arrangements in place for gas safety across the Authority’s housing stock and returned a result of Reasonable Assurance. All recommendations have been actioned by the teams.

Fire Safety
We are required to carry out fire risk assessments to all general needs and sheltered housing communal areas, along with recreation rooms and supported accommodation as required.

Performance
There are 358 assets that require a Fire Risk Assessment (FRA’s) with annual FRA’s carried out to our Sheltered Schemes along with FRA’s completed every 4 years to our general needs communal areas.

Our current performance levels against this measure are set out below:

2024/25	2025/26
Year end	Quarter 1	Quarter 2	Quarter 3	Year end
100%	100%	100%	100%	100%

At the end of Quarter Four, our FRA performance remains strong with 100% of our communal areas having an FRA in line with the programme.
Any remedial actions arising from the FRA’s are raised for completion following the survey.

We have produced Fire Safety information for both our general needs tenants and leaseholders, and for tenants who live in blocks with communal entrances/areas. The Fire Safety information is published on our website, and we have sent copies to all our tenants and Leaseholders in flats that have communal entrances/areas.

An internal audit was undertaken in March 2025. The audit objective was to assess the efficiency and effectiveness of arrangements in place for fire safety across the Authority’s housing stock and returned a result of Reasonable Assurance. All recommendations are being progressed by the teams.

Water Hygiene Safety
We are required to carry out Legionella Risk Assessments (LRA) as per “L8 Approved Code of Practice and Guidance”, across all our assets based on the level of risk each building/system may present. This includes our general needs and sheltered housing stock, along with recreation rooms and supported accommodation as required.

Legionella Risk Assessments (LRA’s) have been carried out across our assets to identify individual risk levels, so appropriate monitoring and reviews of LRA’s are scheduled.

Performance
Our current performance levels for properties requiring a LRA in year is set out below:

2024/25	2025/26
Year end	Quarter 1	Quarter 2	Quarter 3	Year end
100%	100%	100%	100%	100%

At the end of Quarter Four, we have completed all properties programmed to this point.
Any remedial actions arising from the completed LRA’s are raised for completion following completion of the assessments.

An internal audit is planned to assess our water hygiene arrangements across the housing stock during 2026/27 financial year. This forms part of our regular audit programme.
Lift Safety
We are required to carry out Lift safety servicing twice a year to all our lifts across our general needs and sheltered stock.

Performance
There are 31 assets that require Lift servicing twice year to comply with Lifting Operations and Lifting Equipment Regulations 1998 (LOLER).

Our current performance levels against this measure are set out below:

2024/25	2025/26
Year end	Quarter 1	Quarter 2	Quarter 3	Year end
41.6%	100%	100%	100%	100%

At the end of Quarter Four, 100% of our lift safety servicing had been completed in line with our programme.
Any remedial actions arising from the lift safety servicing are raised for completion following the inspections.

An internal audit is planned to assess our lift safety arrangements across the housing stock during 2026/27 financial year. This forms part of our regular audit programme.

Electrical Safety including Electrical Installation Condition Reports (EICR)
Across Electrical Safety we report on the electrical safety within our communal areas along with performance across our EICR programme to our individual homes.

Communal area Electrical Safety Performance
There are 371 communal areas, including sheltered that require an Electrical Safety check every 5 years.

Our current performance levels against this measure are set out below:

2024/25	2025/26
Year end	Quarter 1	Quarter 2	Quarter 3	Year end
100%	98.12%	97.85%	97.03%	95.69%

At the end of Quarter Four, 97.67% of our electrical safety inspections to our communal areas have been completed in line with the programme, however there are also 9 outstanding Electrical Safety Checks to our PFI Sheltered schemes which are currently programmed with our PFI provider.

Any remedial actions arising from the electrical safety inspections are raised for completion following the inspections.

An internal audit is currently being undertaken to assess our electrical safety arrangements in our communal areas across the housing stock and forms part of our regular audit programme.

Electrical Installation Condition Reports (EICR) Safety Performance
We are currently transitioning from a 10-year EICR programme to a 5-year cycle in line with a change in regulations (by November 2025 for new tenancies and November 2026 for existing tenancies). The EICR’s are required for our general needs and sheltered housing stock, along with recreation rooms and supported accommodation.

Our current performance levels against this measure are set out below along with performance against remedial actions raised:

2024/25	2025/26
Year end	Quarter 1	Quarter 2	Quarter 3	Year end
53.60%	66.30%	74.75%	82.86%	91.54%

At the end of Quarter Four, 91.54% of our homes have a EICR completed within the last 5-years.
Any category one and two remedial actions arising from the inspections are actioned immediately, so there are no high or medium risk remedial actions raised that require completion.

Tenant access continues to be the main challenge. Several properties are going through our no access process with applications being made to Court to grant warrants so we can gain access and complete the required EICR safety inspection. Consultation and discussion with tenants are on-going to see how we can promote/encourage better rates of access for all our inspection/safety activity.

We have a target to have EICR’s completed on all properties within the required 5-year cycle by November 2026, with funding in place to support the delivery of this work. Significant progress is being made to reach our target.

An internal audit is currently being undertaken to assess our electrical safety arrangements in our general needs and sheltered housing stock and forms part of our regular audit programme.
Condensation, Mould and Damp (CMD)
It is important that we track information relating to reports of CMD and importantly how we progress and rectify any issues raised.

We are also continually monitoring our systems and procedures following the implementation of Awaab’s Law, to meet the new legal requirements. Our goal is to be fully compliant to help ensure our homes are safe and healthy for our tenants.

Identified below are some of the key metrics across the service relating to CMD from diagnosis through to completion of the remedial works raised.

Performance
During Quarter Four we received reports of CMD issues from 1,148 homes that have resulted in a range of repair work raised, or information or guidance provided to tenants, or further diagnosis through surveys required.

Our current performance in Quarter Four around responses to reported CMD issues are as below:
- We offered 111 video diagnostic calls, with 32 declined by our tenants.
- Our surveyors have completed 624 surveys
- We have completed 1,153 CMD repairs
- From raising the repairs to physically completing the repair it took on average 12.8 days to complete. Once work commenced it took on average 2.1 working days to complete
- Our teams completed 1,743 CMD Report it Forms (received from frontline trade colleagues).
- We received 16 complaints regarding CMD in Quarter Four 2025-26 compared to 16 complaints in Quarter Four 2024-25. Complaints remain consistent due to growing awareness around Condensation, Mould and Damp from Awaab’s Law.

An internal audit was undertaken in July 2024. The audit objective was to assess the efficiency and effectiveness of arrangements in place around our CMD service across the Authority’s housing stock. The original audit identified several recommendations that have since been progressed, so a follow up audit was requested in 2025 and the outcome was that significant progress had been made across all the previous recommendations, demonstrating a range of improvements in this area.

Stock Condition Surveys
We are currently transitioning from a “fair and representative” sample of house type stock condition surveys to a 100% stock survey. We have a target to have a stock condition survey carried out on all our homes within a 5-year cycle by 31 March 2027, with funding in place to support the delivery of this work. Significant progress is being made to reach the target.

It is important that we track information and progress relating to stock condition surveys across our housing stock and importantly how we progress any hazards/repairs identified during the surveys, in line with the Housing Health & Safety Rating System (HHSRS).

Performance
Identified below is the percentage of homes that have had a stock condition survey carried out in the last 5 years.:

2024/25	2025/26
Year end	Quarter 1	Quarter 2	Quarter 3	Year end
43.50%	49.90%	67.20%	77.80%	78.00%

- We completed 264 stock condition surveys during Quarter Four
- A number of surveys have been completed to help fill in some gaps in data identified during the recent Pennington Choices Health Check.

Remedials works identified during the completion of our stock condition surveys are reported through to our repairs and maintenance team and tracked to ensure they are followed up and completed as required.

Tenant access continues to be the main challenge. Consultation and discussion with tenants are on-going to see how we can promote/encourage better rates of access for all our inspection/safety activity.

An internal audit was undertaken in June 2025. The audit objective was to assess the efficiency and effectiveness of arrangements in place for stock condition surveys across the Authority’s housing stock and returned a result of Substantial Assurance. All recommendations are currently being actioned by the teams.